## Sheet1
Date Appeared | Created By | No. of Attempts | Percent Score | Number of Questions Appeared | Number of Correct Answers | Time Taken (hh : min : sec) | Q1: 01- What is the advised setting (bitstream) in conventional analogue acquisition to be used with TMU210/220 | Q2: 02- The TMU210 has hardware configuration by jumper it should be coherent with the nominal current range, what is the possible nominal current? | Q3: 03- Which protection function is not handled by the C264P? | Q4: 04- In which file will you find C264P setting of protection? | Q5: 05- What is the way to fully manage C264P settings? | Q6: 06- What is the shell command to check the TMU210 measurement? | Q7: 07- Disturbance file is a key point on protection function. How to be sure to record it? | Q8: 08- Is there any help command to check your C264P running value? | Q9: 09- Which built-in function can be used with C264P? | Q10: 10- Where should you find detailed information about C264P application? | Q11: How do you rate the training slides | Q12: How easy/difficult was the quiz? | Q13: Would you recommend this training to a friend/colleague? | Q14: If you have rate 8 or below, please mention the area of improvement.
02/06/2025 05:25:39 AM | AL-MANSORY,HASANAIN | 1 | 100 | 13 | 10 | 0:25:4 | D- 2414 during data base and 2414 during software installation | A- 1A/5A | C- 21 (distance ) | B- in BD.Zip file generated by SCE | C- Launch the CMT securely and select opening Micom S1 then choice the file from DB generated. | A- MEAS_TMU_MEAS | B- add a Fast recorder in the system part of SCE tool while database configuration | A- through Shell command by serial connection | C- answer A & B | B- On user documentation of the expected used DS Agile release | 4 Stars | Neutral | Promoter(9)
02/06/2025 04:59:32 AM | AL-MANSORY,HASANAIN | 0 | 50 | 13 | 5 | 0:8:56 | C- 2414 during data base and 2313 during software installation | A- 1A/5A | D- 49/32N/81R/59/46/37/59N | D- answer A & B | C- Launch the CMT securely and select opening Micom S1 then choice the file from DB generated. | B- TMU_MEAS | C- by adding record feature through Micom S1 online connection | A- through Shell command by serial connection | C- answer A & B | B- On user documentation of the expected used DS Agile release | 4 Stars | Neutral | Promoter(9)