## Sheet1
Date Appeared | Created By | No. of Attempts | Percent Score | Number of Questions Appeared | Number of Correct Answers | Time Taken (hh : min : sec) | Q1: 01- in DSS I/O and Analogue are acquired mainly by:? | Q2: 02- A specific software setting is mandatory to be set then allow to activate BCU appropriate feature or SCU appropriate feature; which one is it? | Q3: 03- While digital input configuration, wired info link must be added in the IED, and a relation "is needed by" in the other IED. Which combination is the right one? | Q4: 04- While output configuration in DSS:To wire a SPC to a SCU digital output, we need to interface 1 “virtual” SPC. Which combination is the right one? | Q5: 05- How to add a SV and SV control block in a substation? | Q6: 06- Some monitoring module are available in DSS. which one? | Q7: 07- Which data point of supervision is only available for SV | Q8: 08- What is the command in SCE tool to apply right IEC address to all the datapoint exchanged through process bus? | Q9: 09- How many bays can be managed by a C266 in DSS? | Q10: 10- Where can i find Bitstream definition also detailed information about DS Agile configuration? | Q11: How do you rate the training slides? | Q12: How easy/difficult was the quiz? | Q13: Would you recommend this training to a friend/colleague? | Q14: If you have rate 8 or below, please mention the area of improvement.
03/28/2025 07:31:46 AM | R,Santhosh kumar | 1 | 90 | 13 | 9 | 0:4:42 | C- Merging unit and or SCU | B- Bitstream (2313/2510) on SCE and CMT | B- is wired in SCU/is need in BCU | A- Permanent generic SPC wired on DO/ON-OFF order SPS control on state change | B- by importing the icd model of Merging unit in a generic IED | D- answer A&B | B- Simulation st;Synchro st | A- Automatic addressing | A- 1 bay one C266 | B- in expected use DSA release userdoc | 5 Stars | Happy | Promoter(10)
03/28/2025 07:25:35 AM | R,Santhosh kumar | 0 | 80 | 13 | 8 | 0:4:19 | C- Merging unit and or SCU | B- Bitstream (2313/2510) on SCE and CMT | B- is wired in SCU/is need in BCU | A- Permanent generic SPC wired on DO/ON-OFF order SPS control on state change | A- by adding a sample value group from object entry | D- answer A&B | B- Simulation st;Synchro st | A- Automatic addressing | C- it depend of the size of each bay. | B- in expected use DSA release userdoc | 5 Stars | Happy | Promoter(10)
02/05/2025 05:32:43 PM | AL-MANSORY,HASANAIN | 2 | 100 | 13 | 10 | 0:1:33 | C- Merging unit and or SCU | B- Bitstream (2313/2510) on SCE and CMT | B- is wired in SCU/is need in BCU | A- Permanent generic SPC wired on DO/ON-OFF order SPS control on state change | B- by importing the icd model of Merging unit in a generic IED | D- answer A&B | B- Simulation st;Synchro st | A- Automatic addressing | B- maximum of 2 electrical bay by 1 C266 | B- in expected use DSA release userdoc | 5 Stars | Happy | Promoter(10)
02/05/2025 05:30:15 PM | AL-MANSORY,HASANAIN | 1 | 80 | 13 | 8 | 0:5:40 | C- Merging unit and or SCU | B- Bitstream (2313/2510) on SCE and CMT | B- is wired in SCU/is need in BCU | A- Permanent generic SPC wired on DO/ON-OFF order SPS control on state change | B- by importing the icd model of Merging unit in a generic IED | D- answer A&B | A- Alarm st; Alarm Type | A- Automatic addressing | A- 1 bay one C266 | B- in expected use DSA release userdoc | 5 Stars | Happy | Promoter(9)
02/05/2025 05:23:01 PM | AL-MANSORY,HASANAIN | 0 | 70 | 13 | 7 | 0:15:31 | C- Merging unit and or SCU | B- Bitstream (2313/2510) on SCE and CMT | B- is wired in SCU/is need in BCU | A- Permanent generic SPC wired on DO/ON-OFF order SPS control on state change | B- by importing the icd model of Merging unit in a generic IED | D- answer A&B | C- Redundancy st | A- Automatic addressing | C- it depend of the size of each bay. | D- In DCS Doc center confluence page | 5 Stars | Happy | Promoter(9)
02/04/2025 04:30:58 AM | Nawabjan,Idhayath | 1 | 100 | 14 | 10 | 0:1:35 | C- Merging unit and or SCU | B- Bitstream (2313/2510) on SCE and CMT | B- is wired in SCU/is need in BCU | A- Permanent generic SPC wired on DO/ON-OFF order SPS control on state change | B- by importing the icd model of Merging unit in a generic IED | D- answer A&B | B- Simulation st;Synchro st | A- Automatic addressing | B- maximum of 2 electrical bay by 1 C266 | B- in expected use DSA release userdoc | 5 Stars | Happy | Promoter(10) | VERY GOOD
02/04/2025 04:04:50 AM | Nawabjan,Idhayath | 0 | 80 | 14 | 8 | 0:1:10 | C- Merging unit and or SCU | B- Bitstream (2313/2510) on SCE and CMT | B- is wired in SCU/is need in BCU | A- Permanent generic SPC wired on DO/ON-OFF order SPS control on state change | A- by adding a sample value group from object entry | D- answer A&B | C- Redundancy st | A- Automatic addressing | B- maximum of 2 electrical bay by 1 C266 | B- in expected use DSA release userdoc | 5 Stars | Happy | Promoter(10) | good
01/18/2025 02:47:35 AM | Meghanathan,Prem Kumar | 1 | 100 | 13 | 10 | 0:2:30 | C- Merging unit and or SCU | B- Bitstream (2313/2510) on SCE and CMT | B- is wired in SCU/is need in BCU | A- Permanent generic SPC wired on DO/ON-OFF order SPS control on state change | B- by importing the icd model of Merging unit in a generic IED | D- answer A&B | B- Simulation st;Synchro st | A- Automatic addressing | B- maximum of 2 electrical bay by 1 C266 | B- in expected use DSA release userdoc | 5 Stars | Happy | Promoter(10)
01/18/2025 02:44:21 AM | Meghanathan,Prem Kumar | 0 | 70 | 13 | 7 | 0:20:19 | C- Merging unit and or SCU | B- Bitstream (2313/2510) on SCE and CMT | B- is wired in SCU/is need in BCU | A- Permanent generic SPC wired on DO/ON-OFF order SPS control on state change | A- by adding a sample value group from object entry | D- answer A&B | A- Alarm st; Alarm Type | A- Automatic addressing | B- maximum of 2 electrical bay by 1 C266 | D- In DCS Doc center confluence page | 5 Stars | Happy | Promoter(10)
01/14/2025 11:04:44 AM | SURESHKUMAR,ELANGOVAN | 0 | 90 | 13 | 9 | 0:5:8 | C- Merging unit and or SCU | B- Bitstream (2313/2510) on SCE and CMT | B- is wired in SCU/is need in BCU | A- Permanent generic SPC wired on DO/ON-OFF order SPS control on state change | B- by importing the icd model of Merging unit in a generic IED | D- answer A&B | B- Simulation st;Synchro st | A- Automatic addressing | A- 1 bay one C266 | B- in expected use DSA release userdoc | 5 Stars | Happy | Promoter(10)
12/19/2024 11:07:49 AM | FABRE,Eric | 0 | 90 | 13 | 9 | 0:6:20 | C- Merging unit and or SCU | B- Bitstream (2313/2510) on SCE and CMT | B- is wired in SCU/is need in BCU | A- Permanent generic SPC wired on DO/ON-OFF order SPS control on state change | A- by adding a sample value group from object entry | D- answer A&B | B- Simulation st;Synchro st | A- Automatic addressing | B- maximum of 2 electrical bay by 1 C266 | B- in expected use DSA release userdoc | 4 Stars | Neutral | Promoter(9)
11

## passed
Date Appeared | Created By | Percent Score
03/28/2025 07:31:46 AM | R,Santhosh kumar | 90
02/05/2025 05:32:43 PM | AL-MANSORY,HASANAIN | 100
02/04/2025 04:30:58 AM | Nawabjan,Idhayath | 100
01/18/2025 02:47:35 AM | Meghanathan,Prem Kumar | 100
01/14/2025 11:04:44 AM | SURESHKUMAR,ELANGOVAN | 90
12/19/2024 11:07:49 AM | FABRE,Eric | 90
total | 6